## Slide 1
Biopolymer Nanoparticles
(food science)
Submitted by:
Mohamed said
Ph.D. student
Submitted to:
Prof. Dr. Bin Li
Dean of College (Food science and Technology).
Huazhong Agriculture University
Department of Food science and technology
November 27, 2016

## Slide 2: Introduction:
Biopolymer – based nanoparticles have drawn increasing interest as a vehicle for the protection and delivery of bioactive compounds

## Slide 3: What Is Spectroscopy?
Spectroscopy is a technique that uses the interaction of energy with a sample to perform an analysis.
What Is a Spectrum?
The data that is obtained from spectroscopy is called a spectrum. A spectrum is a plot of the intensity of energy detected versus the wavelength (or mass or momentum or frequency, etc.) of the energy.

## Slide 4: What Information Is Obtained?
A spectrum can be used to obtain information about atomic and molecular energy levels, molecular geometries, chemical bonds, interactions of molecules, and related processes. Often, spectra are used to identify the components of a sample (qualitative analysis). Spectra may also be used to measure the amount of material in a sample (quantitative analysis).

## Slide 5: What Instruments Are Needed?
There are several instruments that are used to perform a spectroscopic analysis. In simplest terms, spectroscopy requires an energy source (commonly a laser, but this could be an ion source or radiation source) and a device for measuring the change in the energy source after it has interacted with the sample (often a spectrophotometer or interferometer).

## Slide 6: What Are Some Types of Spectroscopy?
There are as many different types of spectroscopy as there are energy sources! Here are some examples:-
Astronomical Spectroscopy
Atomic Absorption Spectroscopy
Attenuated Total Reflectance Spectroscopy
Electron Paramagnetic Spectroscopy
Electron Spectroscopy
Fourier Transform Spectrosopy

## Slide 7
Gamma-ray Spectroscopy
Infrared Spectroscopy
Laser Spectroscopy
Mass Spectrometry
Multiplex or Frequency-Modulated Spectroscopy
Raman Spectroscopy
X-ray Spectroscopy

## Slide 8: Applications of U.V. Spectroscopy:
Detection of Impurities
UV absorption spectroscopy is one of the best methods for determination of impurities in organic molecules. Additional peaks can be observed due to impurities in the sample and it can be compared with that of standard raw material. By also measuring the absorbance at specific wavelength, the impurities can be detected.

## Slide 9: U.V. Spectra of Paracetamol (PCM)

## Slide 10
2. Structure elucidation of organic compounds.
UV spectroscopy is useful in the structure elucidation of organic molecules, the presence or absence of unsaturation, the presence of hetero atoms.
From the location of peaks and combination of peaks, it can be concluded that whether the compound is saturated or unsaturated, hetero atoms are present or not etc.

## Slide 11: 3. Quantitative analysis
UV absorption spectroscopy can be used for the quantitative determination of compounds that absorb UV radiation. This determination is based on Beer’s law which is as follows.
A = log I0 / It = log 1/ T = – log T = abc = εbc
Where :
ε -is extinction co-efficient,
c- is concentration, and
b- is the length of the cell that is used in UV spectrophotometer.

## Slide 12: Beer’s law

## Slide 13: 4. Qualitative analysis
UV absorption spectroscopy can characterize those types of compounds which absorbs UV radiation. Identification is done by comparing the absorption spectrum with the spectra of known compounds.

## Slide 14: U.V. Spectra's of some compounds

## Slide 15: 5. Chemical kinetics
Kinetics of reaction can also be studied using UV spectroscopy. The UV radiation is passed through the reaction cell and the absorbance changes can be observed.

## Slide 16: 6. Detection of Functional Groups
This technique is used to detect the presence or absence of functional group in the compound
Absence of a band at particular wavelength regarded as an evidence for absence of particular group

## Slide 17: Benzene
Tolune

## Slide 18: 7. Quantitative analysis of biocomponents substances in foods.
Many valuable compounds are either in the form of raw material or in the form of formulation. They can be assayed by making a suitable solution of the material in a solvent and measuring the absorbance at specific wavelength.

## Slide 19: 8. Examination of Polynuclear Hydrocarbons
Benzene and Polynuclear hydrocarbons have characteristic spectra in ultraviolet and visible region. Thus identification of Polynuclear hydrocarbons can be made by comparison with the spectra of known Polynuclear compounds.
Polynuclear hydrocarbons are the Hydrocarbon molecule with two or more closed rings; examples are naphthalene, C10H8, with two benzene rings side by side, or diphenyl, (C6H5)2, with two bond-connected benzene rings. Also known as polycyclic hydrocarbon.

## Slide 20: Naphthalene
Diphenyl

## Slide 21: 9. Molecular weight determination
Molecular weights of compounds can be measured spectrophotometrically by preparing the suitable derivatives of these compounds.
For example, if we want to determine the molecular weight of amine then it is converted in to amine picrate. Then known concentration of amine picrate is dissolved in a litre of solution and its optical density is measured at λmax 380 nm.

## Slide 22
After this the concentration of the solution in gm moles per litre can be calculated by using the following formula.
"c" can be calculated using above equation, the weight "w" of amine picrate is known. From "c" and "w", molecular weight of amine picrate can be calculated. And the molecular weight of picrate can be calculated using the molecular weight of amine picrate.

## Slide 23: 10. As HPLC detector. A UV/Vis spectrophotometer may be used as a detector for HPLC.
Mobile phase
HPLC Pump
syringe
6-port valve
Sample loop
HPLC column
UV detector
Solvent waste

## Slide 24: Some Determinations by using U.V. Spectroscopy in food science .
The free radical scavenging property was performed using UV-Visible spectroscopy.
Determination of Food Colour by Using UV-VIS (((as study the interaction between radiation and matter in regards to the wavelength of photons.Carmoisine is another synthetic food dye used to provide the red to maroon colour range. It is in the azo dye group. Other names for Carmoisine include Azorubine, Food Red 3, Azorubin S, and Brillantcarmoisin.

## Slide 25
The UV-VIS spectroscopy is mainly used to examine the quality of edible oils regarding a number of parameters including the anisidine value and TOTOX value. Another parameter of oil quality is general colour which is determined by the saturation of chlorophyll or carotenoid pigments. Unlike oil produced through cold press extraction.

## Slide 26: some papers used U.V. Spectroscopy technique. ( Paper title).
spectroscopy Application of UV-VIS absorption to monitoring changes in virgin olive oil during storage. Jan 2005
characteristic UV–Vis absorption bands for rapid analysis of water contaminants. Aug 2016
: Performance Enhanced UV/vis Spectroscopic Microfluidic Sensor for Ascorbic Acid Quantification in Human Blood May 2016
UV–Vis spectroscopy of tyrosine side-groups in studies of protein structure May 2016

## Slide 27
Green synthesis of magnetic iron nanoparticles coated by olive oil and verifying its efficiency in extraction of nickel from environmental samples via UV-Vis spectrophotometry. (Apr 2016).
Molecular structure and UV-Vis spectral analysis of new synthesized azo dyes for application in polarizing films. ( Feb 2016)
Advanced lipid systems containing β-carotene: Stability under UV-vis radiation and application on porcine skin in vitro (Jun 2015).
LINEARIZATION OF THE BRADFORD PROTEIN ASSAY TO APPLICATION IN COW MILK PROTEINS QUANTIFICATION BY UV-Vis SPECTROPHOTOMETRY METHOD Jun 2015

## Slide 28: some papers used U.V. Spectroscopy technique. ( Paper title).
Coating of gold nanoparticles for medical application: UV-VIS. ( Nov 2014)
Validation of an Ultraviolet-visible (UV-Vis) technique for the quantitative determination of curcumin in poly(L-lactic acid) nanoparticles (Sep 2014).
Water Quality Analysis by UV-Vis Spectroscopy: A Review of Methodology and Application.(Jul 2013 ).

## Slide 29: References:
Sharma. Y.R. Elementary Organic Spectroscopy. First edition .S.Chand Publisher; 2010.
Chatwal G.R. Instrumental methods of chemical analysis. First edition. Himalaya Publisher; 2010.
www.chem.agilent.com/Library/applications/uv31.pdf.
www.uvitron.com/Applications.html.